## Slide 2
From a single frame of data – these black lines would be zero in an ideal system

## Slide 3
The shape of this black line is surprisingly repeatable.
Why?

## Slide 4
Steelbolts with stimuli
Subtract empty steelbolts errors from other modality errors…
Melting
Damages (start)
Damages (end)
Hemisphere (error shape changes with setup)
Presshuman

## Slide 5
Remaining error is comparable to the smallest measured signals: pressrobot.
(Which was already close to background noise: error of same magnitude).
For stronger modalities, can likely not perform repeated measurements (Reducing by 75%).

## Slide 6
Correlations of all electrode combinations – not much variation between membrane tests
Typical Homogeneous membrane
Membrane with channels

## Slide 7
Typical Hemisphere pattern
Typical Membrane pattern
(Salted hemisphere – experimental data needs validating)

## Slide 8
TODO: How many more channels could be removed without affecting results?

## Slide 9
PressRobot
Melting

## Slide 10
TSNE Clustering – all with events overlaid. 10krms from here unless otherwise specified.

## Slide 11
PCA 2D with all. Multi-tactile dominate, and presshuman very similar to pure touching.

## Slide 12
Each can be PCA-ed individually – steel bolts can be superposed

## Slide 13
Approximate linearity in PCA results

## Slide 14
Each can be PCA-ed individually – multi-tactile dominate clustering

## Slide 15
Visualise most important electrode combinations in fingerprint for each – visualization of principal PCA direction

## Slide 16
Dot product of fingerprints gives most similar modalities

## Slide 17
Using only coeffs from steelbolts is surprisingly effective

## Slide 18
Can track melting path from steelbolt axes – though much noisier in phase space
RMS
Phase

## Slide 19
Follow up: PCAElectrodeSubsets.m